                This is a reminder that the Load Management **2025 Winter Preparedness Event** for Interruptible Heat (Dual Fuel) accounts is scheduled for **Wednesday, November 19th, 2025**.  This load control test is performed in advance of the winter Full Load Control season to ensure member familiarity with the control sequence and to ensure that backup heating systems have been validated for proper function.  An approximate timeline for the event will be:

|  |  |
| --- | --- |
| **Date and Time** | **Event Status** |
| **11/18/2025 After ≈ 18:00** | Event notifications issued to Everbridge and Messenger contacts ★ |
| **11/19/2025 ≈ 06:55** | Event start time - Loads will begin to be interrupted, Everbridge Contacts will receive a SECOND reminder of the event |
| **11/19/2025 ≈ 07:00** | All loads will be interrupted (2,2W,4B) |
| **11/19/2025 ≈ 10:00** | Class **2, 2W, and** **4B** will begin diversified restoral |
| **11/19/2025 ≈ 10:30** | Class **4B** loads will be fully restored |
| **11/19/2025 ≈ 11:00** | Class **2 and 2W** loads will be fully restored |